## Power station pumps
Power station pumps
Problem: 4 pumps, A to D, serve a power station. In order to work, the station needs 2 working pumps. Each pump has a probability of failure in a day, which depends on number of pumps working. Each repair of the pump takes LogNormal(20,15) days. How long will it take before a shutdown (before 3 of 4 pumps break down)? How many shutdowns will the station have per year? What is the probability of one or more shutdowns per year?
Results | [5 empty] | P(fail/day) |  |  |  | MTBF (days)
How long before a shutdown? |  |  | 12.8347 |  | Pumps working | 4 | 3 | 2 |  | Pumps failed | 0 | 1 | 2
P(>0 shutdowns in a year)? |  |  | 1 |  | A | 0.002 | 0.007 | 0.025 |  | A | 499.4998 | 142.3566 | 39.4979
No. shutdowns in a year |  |  | 19 |  | B | 0.004 | 0.013 | 0.079 |  | B | 249.4997 | 76.422 | 12.1514
[5 empty] | C | 0.007 | 0.034 | 0.142 |  | C | 142.3566 | 28.9089 | 6.5295
[5 empty] | D | 0.002 | 0.007 | 0.025 |  | D | 499.4998 | 142.3566 | 39.4979
| Status (1=failed) at time t |  |  |  | MTBF at time t | [7 empty] | Time to repair completion new t | [8 empty] | Time to failure new t | [6 empty] | Collapse | Collapses | Result
Time t (days) | A | B | C | D | A | 1/A | B | 1/B | C | 1/C | D | 1/D | LogNorm | A | LogNorm | B | LogNorm | C | LogNorm | D | Exponential | A | Exponential | B | Exponential | C | Exponential | D |  | in a year
0 | 0 | 0 | 0 | 0 | 499.4998 | 0.002002 | 249.4997 | 0.004008 | 142.3566 | 0.0070246 | 499.4998 | 0.002002 | 15.8176 | 1000000 | 11.0439 | 1000000 | 8.4137 | 1000000 | 22.5151 | 1000000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
1 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 12.9279 | 13.9279 | 11.8347 | 12.8347 | 20.0453 | 21.0453 | 26.1045 | 27.1045 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
12.8347 | 1 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 9.0182 | 13.9279 | 42.9264 | 1000000 | 25.5084 | 21.0453 | 38.8929 | 27.1045 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 12.8347
13.9279 | 0 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 22.711 | 1000000 | 8.2486 | 1000000 | 6.2673 | 21.0453 | 19.6059 | 27.1045 | 1 | 14.9279 | 1 | 14.9279 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
14.9279 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 10.518 | 25.4459 | 24.2422 | 39.17 | 14.5973 | 21.0453 | 16.7483 | 27.1045 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
21.0453 | 1 | 1 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 19.8958 | 25.4459 | 8.3375 | 39.17 | 20.6954 | 1000000 | 23.6361 | 27.1045 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
25.4459 | 0 | 1 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 5.5576 | 1000000 | 10.2291 | 39.17 | 18.6645 | 1000000 | 92.0774 | 27.1045 | 1 | 26.4459 | 1 | 1000000 | 1 | 26.4459 | 1 | 1000000 | 0 | 0 | 0
26.4459 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 8.2197 | 34.6656 | 26.2362 | 39.17 | 23.0368 | 49.4827 | 8.9792 | 27.1045 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
27.1045 | 1 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 42.3635 | 34.6656 | 11.8658 | 39.17 | 15.7846 | 49.4827 | 14.6209 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
34.6656 | 0 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 6.9902 | 1000000 | 9.6853 | 39.17 | 38.7301 | 49.4827 | 47.0252 | 1000000 | 1 | 35.6656 | 1 | 1000000 | 1 | 1000000 | 1 | 35.6656 | 0 | 0 | 0
35.6656 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 22.419 | 58.0845 | 17.7657 | 39.17 | 32.6389 | 49.4827 | 22.5783 | 58.2438 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
39.17 | 1 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 8.1119 | 58.0845 | 12.7597 | 1000000 | 30.2801 | 49.4827 | 5.9818 | 58.2438 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
49.4827 | 1 | 0 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 8.9133 | 58.0845 | 20.4866 | 1000000 | 17.0768 | 1000000 | 38.4959 | 58.2438 | 1 | 1000000 | 1 | 50.4827 | 1 | 50.4827 | 1 | 1000000 | 0 | 0 | 0
50.4827 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 40.8926 | 58.0845 | 12.7965 | 63.2793 | 14.6781 | 65.1609 | 20.5961 | 58.2438 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
58.0845 | 0 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 37.5843 | 1000000 | 6.3258 | 63.2793 | 3.7111 | 65.1609 | 13.1091 | 58.2438 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
58.2438 | 0 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 21.7278 | 1000000 | 9.2968 | 63.2793 | 8.2579 | 65.1609 | 16.5821 | 1000000 | 1 | 59.2438 | 1 | 1000000 | 1 | 1000000 | 1 | 59.2438 | 0 | 0 | 0
59.2438 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 26.4597 | 85.7035 | 6.4131 | 63.2793 | 14.5918 | 65.1609 | 12.8678 | 72.1117 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
63.2793 | 1 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 4.7682 | 85.7035 | 14.0684 | 1000000 | 4.2833 | 65.1609 | 3.2959 | 72.1117 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
65.1609 | 1 | 0 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 42.1586 | 85.7035 | 16.0401 | 1000000 | 14.7952 | 1000000 | 32.9393 | 72.1117 | 1 | 1000000 | 1 | 66.1609 | 1 | 66.1609 | 1 | 1000000 | 0 | 0 | 0
66.1609 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 25.6178 | 85.7035 | 26.285 | 92.4459 | 12.8323 | 78.9932 | 26.5665 | 72.1117 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
72.1117 | 1 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 41.9781 | 85.7035 | 33.1498 | 92.4459 | 8.867 | 78.9932 | 25.1961 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
78.9932 | 1 | 1 | 0 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 34.367 | 85.7035 | 21.6226 | 92.4459 | 15.502 | 1000000 | 14.2551 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 79.9932 | 1 | 79.9932 | 0 | 0 | 0
79.9932 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 7.7695 | 85.7035 | 16.0177 | 92.4459 | 28.0383 | 108.0314 | 5.8803 | 85.8735 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
85.7035 | 0 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 16.9284 | 1000000 | 39.2405 | 92.4459 | 15.0295 | 108.0314 | 10.8142 | 85.8735 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
85.8735 | 0 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 12.3729 | 1000000 | 19.5243 | 92.4459 | 9.1598 | 108.0314 | 38.0417 | 1000000 | 1 | 86.8735 | 1 | 1000000 | 1 | 1000000 | 1 | 86.8735 | 0 | 0 | 0
86.8735 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 16.3995 | 103.273 | 7.6081 | 92.4459 | 74.3263 | 108.0314 | 14.3533 | 101.2268 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
92.4459 | 1 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 11.1418 | 103.273 | 28.7714 | 1000000 | 29.0614 | 108.0314 | 9.1547 | 101.2268 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
101.2268 | 1 | 0 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 11.8856 | 103.273 | 6.6 | 1000000 | 10.0577 | 108.0314 | 13.1115 | 1000000 | 1 | 1000000 | 1 | 102.2268 | 1 | 1000000 | 1 | 102.2268 | 0 | 0 | 0
102.2268 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 17.9173 | 103.273 | 19.1293 | 121.3561 | 7.0509 | 108.0314 | 10.4289 | 112.6558 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
103.273 | 0 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 11.3121 | 1000000 | 13.1188 | 121.3561 | 27.5779 | 108.0314 | 24.3831 | 112.6558 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
108.0314 | 0 | 1 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 29.5615 | 1000000 | 14.9706 | 121.3561 | 6.0236 | 1000000 | 47.7 | 112.6558 | 1 | 109.0314 | 1 | 1000000 | 1 | 109.0314 | 1 | 1000000 | 0 | 0 | 0
109.0314 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 19.3735 | 128.4049 | 17.1796 | 121.3561 | 5.0407 | 114.0721 | 19.5892 | 112.6558 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
112.6558 | 1 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 6.8247 | 128.4049 | 33.9957 | 121.3561 | 6.643 | 114.0721 | 7.8295 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
114.0721 | 1 | 1 | 0 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 14.7577 | 128.4049 | 12.8409 | 121.3561 | 18.5525 | 1000000 | 23.208 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 115.0721 | 1 | 115.0721 | 0 | 0 | 0
115.0721 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 10.987 | 128.4049 | 9.3331 | 121.3561 | 55.3628 | 170.4349 | 17.2674 | 132.3396 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
121.3561 | 1 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 12.5708 | 128.4049 | 22.9537 | 1000000 | 16.1431 | 170.4349 | 17.1593 | 132.3396 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
128.4049 | 0 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 68.6803 | 1000000 | 19.2219 | 1000000 | 33.6923 | 170.4349 | 49.4933 | 132.3396 | 1 | 129.4049 | 1 | 129.4049 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
129.4049 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 18.7371 | 148.142 | 11.6599 | 141.0648 | 64.1706 | 170.4349 | 52.0638 | 132.3396 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
132.3396 | 1 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 61.6166 | 148.142 | 5.9511 | 141.0648 | 23.5421 | 170.4349 | 11.0468 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
141.0648 | 1 | 0 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 11.7357 | 148.142 | 13.1564 | 1000000 | 24.1181 | 170.4349 | 27.4771 | 1000000 | 1 | 1000000 | 1 | 142.0648 | 1 | 1000000 | 1 | 142.0648 | 0 | 0 | 0
142.0648 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 59.3715 | 148.142 | 52.2484 | 194.3132 | 6.6389 | 170.4349 | 8.1965 | 150.2613 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
148.142 | 0 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 32.4643 | 1000000 | 11.7344 | 194.3132 | 13.6158 | 170.4349 | 25.2465 | 150.2613 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
150.2613 | 0 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 19.3149 | 1000000 | 9.4928 | 194.3132 | 19.1388 | 170.4349 | 38.3805 | 1000000 | 1 | 151.2613 | 1 | 1000000 | 1 | 1000000 | 1 | 151.2613 | 0 | 0 | 0
151.2613 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 9.4643 | 160.7256 | 7.9136 | 194.3132 | 19.1892 | 170.4349 | 24.0295 | 175.2908 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
160.7256 | 0 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 7.3411 | 1000000 | 22.4663 | 194.3132 | 20.3843 | 170.4349 | 8.2348 | 175.2908 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
170.4349 | 0 | 1 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 17.1948 | 1000000 | 12.6577 | 194.3132 | 9.3986 | 1000000 | 14.08 | 175.2908 | 1 | 171.4349 | 1 | 1000000 | 1 | 171.4349 | 1 | 1000000 | 0 | 0 | 0
171.4349 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 13.9664 | 185.4013 | 16.4551 | 194.3132 | 23.1371 | 194.5719 | 34.5712 | 175.2908 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
175.2908 | 1 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 37.4708 | 185.4013 | 18.7706 | 194.3132 | 15.9439 | 194.5719 | 17.6838 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
185.4013 | 0 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 18.4682 | 1000000 | 22.6522 | 194.3132 | 16.7286 | 194.5719 | 7.7134 | 1000000 | 1 | 186.4013 | 1 | 1000000 | 1 | 1000000 | 1 | 186.4013 | 0 | 0 | 0
186.4013 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 12.7944 | 199.1957 | 7.4627 | 194.3132 | 9.3797 | 194.5719 | 12.6291 | 199.0303 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
194.3132 | 1 | 0 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 22.0696 | 199.1957 | 8.8409 | 1000000 | 8.4404 | 194.5719 | 48.9017 | 199.0303 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
194.5719 | 1 | 0 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 13.6916 | 199.1957 | 30.0826 | 1000000 | 34.7967 | 1000000 | 19.3104 | 199.0303 | 1 | 1000000 | 1 | 195.5719 | 1 | 195.5719 | 1 | 1000000 | 0 | 0 | 0
195.5719 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 5.9825 | 199.1957 | 17.18 | 212.7519 | 6.6356 | 202.2076 | 12.95 | 199.0303 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
199.0303 | 1 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 5.9479 | 199.1957 | 53.6375 | 212.7519 | 7.0191 | 202.2076 | 16.5497 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
199.1957 | 0 | 1 | 1 | 0 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 7.7714 | 1000000 | 9.9769 | 212.7519 | 17.9565 | 202.2076 | 14.6586 | 1000000 | 1 | 200.1957 | 1 | 1000000 | 1 | 1000000 | 1 | 200.1957 | 0 | 0 | 0
200.1957 | 1 | 1 | 1 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 23.9181 | 224.1138 | 12.9921 | 212.7519 | 10.6013 | 202.2076 | 17.9546 | 218.1503 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 0 | 0 | 0
202.2076 | 1 | 1 | 0 | 1 | 39.4979 | 0.025318 | 12.1514 | 0.082295 | 6.5295 | 0.15315 | 39.4979 | 0.025318 | 21.3641 | 224.1138 | 32.5075 | 212.7519 | 26.8404 | 1000000 | 20.5271 | 218.1503 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1000000 | 1 | 1 | 0
Note on E11: Mean of this cell gives the required probability